## Com_Circuit_network Rep
section_id | from_node_id | Coord_X | Coord_Y | to_node_id | Coord_X | Coord_Y | phase | Switch | Location | Fuse | Location | Shunt Capacitor | Location | Connection | KVAR | Phase | Voltage Regulator | Location | Phase | Load | Connection Type | Load Type | Customer Type | Load Location | Recloser | Location
258901323 | 258901324 | 272018.5 | -247908.45 | 258901325 | 271962.65 | -247918.56 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
258901441 | 258901442 | 272311.41 | -246908.91 | 258901443 | 272366.88 | -246826.74 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
258901448 | 258901443 | 272366.88 | -246826.74 | 258901450 | 272405.78 | -246766.65 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258901453 | 258901450 | 272405.78 | -246766.65 | 258901455 | 272408.75 | -246763.37 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258901458 | 258901455 | 272408.75 | -246763.37 | 258901460 | 272447 | -246707.21 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258901463 | 258901464 | 272463.87 | -246680.79 | 258901465 | 272491.89 | -246636.92 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258901468 | 258901465 | 272491.89 | -246636.92 | 258901470 | 272503.02 | -246617.81 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
258901478 | 258901475 | 272549.24 | -246557.64 | 258901480 | 272597.62 | -246477.18 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258901485 | 258901480 | 272597.62 | -246477.18 | 258901487 | 272608.88 | -246461.16 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258901490 | 258901491 | 272661.21 | -246388.06 | 258901492 | 272689 | -246342.42 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258901495 | 258901496 | 272784.49 | -246492.39 | 258901497 | 272799.8 | -246507.85 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258901500 | 258901501 | 272706.11 | -246314.47 | 258901502 | 272734.88 | -246257.64 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
258901505 | 258901502 | 272734.88 | -246257.64 | 258901507 | 272765.23 | -246166.99 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258901655 | 258901652 | 272533.41 | -246412.57 | 258901657 | 272441.01 | -246428.98 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258901660 | 258901657 | 272441.01 | -246428.98 | 258901662 | 272363.46 | -246360.1 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
258901675 | 258901672 | 272374.26 | -246609.58 | 258901677 | 272307.53 | -246548.54 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258901680 | 258901677 | 272307.53 | -246548.54 | 258901682 | 272241.03 | -246525.36 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258901685 | 258901677 | 272307.53 | -246548.54 | 258901687 | 272302.9 | -246576.57 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258901690 | 258901687 | 272302.9 | -246576.57 | 258901692 | 272267.79 | -246659.01 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258901695 | 258901692 | 272267.79 | -246659.01 | 258901697 | 272248.84 | -246702.87 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258901700 | 258901697 | 272248.84 | -246702.87 | 258901702 | 272223.52 | -246741.29 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258901705 | 258901682 | 272241.03 | -246525.36 | 258901707 | 272236.41 | -246553.38 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
258901985 | 258901982 | 272280.85 | -247112.94 | 258901987 | 272320.04 | -247125.93 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
258901990 | 258901987 | 272320.04 | -247125.93 | 258901992 | 272313.16 | -247141.96 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258901995 | 258901992 | 272313.16 | -247141.96 | 258901997 | 272353.08 | -247156.91 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902000 | 258901997 | 272353.08 | -247156.91 | 258902002 | 272465.05 | -247199.37 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902005 | 258902002 | 272465.05 | -247199.37 | 258902006 | 272510.48 | -247225.93 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902199 | 258902200 | 272186.08 | -247751.68 | 258902201 | 272205.28 | -247731.89 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902204 | 258902201 | 272205.28 | -247731.89 | 258902206 | 272253.34 | -247790.65 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
258902209 | 258902201 | 272205.28 | -247731.89 | 258902211 | 272278.25 | -247678.41 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
258902214 | 258902206 | 272253.34 | -247790.65 | 258902216 | 272314.79 | -247874.09 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902219 | 258902216 | 272314.79 | -247874.09 | 258902221 | 272388.38 | -247981.71 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902224 | 258902221 | 272388.38 | -247981.71 | 258902226 | 272436.46 | -247991.16 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902229 | 258902226 | 272436.46 | -247991.16 | 258902231 | 272471.87 | -248047.16 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902234 | 258902231 | 272471.87 | -248047.16 | 258902236 | 272542.73 | -248013.22 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902239 | 258902236 | 272542.73 | -248013.22 | 258902241 | 272600.81 | -247925.81 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902244 | 258902241 | 272600.81 | -247925.81 | 258902246 | 272566.37 | -247912.5 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902249 | 258902241 | 272600.81 | -247925.81 | 258902251 | 272627.36 | -247896.47 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902254 | 258902251 | 272627.36 | -247896.47 | 258902256 | 272637.53 | -247982.49 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902259 | 258902251 | 272627.36 | -247896.47 | 258902261 | 272664.7 | -247857.93 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902264 | 258902261 | 272664.7 | -247857.93 | 258902266 | 272716.76 | -247833.57 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902269 | 258902266 | 272716.76 | -247833.57 | 258902271 | 272744.46 | -247825.91 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902274 | 258902271 | 272744.46 | -247825.91 | 258902276 | 272794.08 | -247817.15 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902279 | 258902246 | 272566.37 | -247912.5 | 258902281 | 272483.19 | -247880.25 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902289 | 258902286 | 271918.19 | -247927.5 | 258902291 | 271878.75 | -247934.87 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
258902294 | 258902291 | 271878.75 | -247934.87 | 258902296 | 271827.82 | -247944.95 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902306 | 258902296 | 271827.82 | -247944.95 | 258902308 | 271831.98 | -248025.7 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902313 | 258902308 | 271831.98 | -248025.7 | 258902315 | 271803.72 | -248049.99 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
258902318 | 258902315 | 271803.72 | -248049.99 | 258902320 | 271766.32 | -248028.49 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902323 | 258902320 | 271766.32 | -248028.49 | 258902325 | 271725.35 | -248063.68 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902328 | 258902325 | 271725.35 | -248063.68 | 258902330 | 271707.12 | -248097.77 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902345 | 258902342 | 271915.98 | -248075.37 | 258902347 | 271931.29 | -248098.25 | B | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902350 | 258902347 | 271931.29 | -248098.25 | 258902352 | 271943.09 | -248151.22 | B | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
258902355 | 258902296 | 271827.82 | -247944.95 | 258902357 | 271798.73 | -247911.81 | AC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902360 | 258902357 | 271798.73 | -247911.81 | 258902362 | 271804.89 | -247871.37 | AC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902372 | 258902369 | 271785.8 | -247846.13 | 258902374 | 271755.35 | -247819.46 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902377 | 258902374 | 271755.35 | -247819.46 | 258902379 | 271656.19 | -247747.87 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902382 | 258902379 | 271656.19 | -247747.87 | 258902384 | 271647.14 | -247739.56 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902392 | 258902389 | 271702.48 | -247938.01 | 258902394 | 271618.49 | -247892.67 | AC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902397 | 258902394 | 271618.49 | -247892.67 | 258902399 | 271560.4 | -247841.97 | AC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902402 | 258902399 | 271560.4 | -247841.97 | 258902404 | 271536.74 | -247818.25 | AC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902407 | 258902404 | 271536.74 | -247818.25 | 258902409 | 271485.14 | -247823.83 | AC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902419 | 258902414 | 271526.07 | -247776.46 | 258902421 | 271413.94 | -247684.52 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902424 | 258902421 | 271413.94 | -247684.52 | 258902426 | 271390.17 | -247659.68 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902434 | 258902431 | 271558.94 | -247728.47 | 258902436 | 271553.88 | -247662.22 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902439 | 258902436 | 271553.88 | -247662.22 | 258902441 | 271551.32 | -247570.69 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902449 | 637702664 | 271909.47 | -247902.71 | 258902451 | 271902.15 | -247798.96 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902454 | 258902451 | 271902.15 | -247798.96 | 258902456 | 271882.96 | -247761.05 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902459 | 258902456 | 271882.96 | -247761.05 | 258902461 | 271810.57 | -247700.89 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902464 | 258902461 | 271810.57 | -247700.89 | 258902466 | 271709.33 | -247620.2 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902469 | 258902466 | 271709.33 | -247620.2 | 258902471 | 271520.97 | -247466.86 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902474 | 258902471 | 271520.97 | -247466.86 | 258902476 | 271512.58 | -247455.51 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902479 | 258902480 | 272077.36 | -248479.26 | 258902481 | 272008.4 | -248421.8 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | I | L | NO | #N/A
258902484 | 258902481 | 272008.4 | -248421.8 | 258902486 | 271979.13 | -248397.5 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902491 | 258902486 | 271979.13 | -248397.5 | 258902493 | 271964.81 | -248411.41 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
258902496 | 258902486 | 271979.13 | -248397.5 | 258902498 | 271836.32 | -248278.44 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902501 | 258902498 | 271836.32 | -248278.44 | 258902503 | 271809.86 | -248307.25 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902506 | 258902498 | 271836.32 | -248278.44 | 258902508 | 271852.74 | -248207.58 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902513 | 258902508 | 271852.74 | -248207.58 | 258902515 | 271782.07 | -248154 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902518 | 258902515 | 271782.07 | -248154 | 258902520 | 271731.33 | -248122.63 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | YES | L
258902523 | 258902520 | 271731.33 | -248122.63 | 258902525 | 271708.39 | -248102.33 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902535 | 258902532 | 271859.01 | -248229.67 | 258902537 | 271892.21 | -248233.76 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902540 | 258902537 | 271892.21 | -248233.76 | 258902542 | 271930.88 | -248216.47 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258902545 | 258902542 | 271930.88 | -248216.47 | 258902547 | 271986.12 | -248307.12 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902550 | 258902542 | 271930.88 | -248216.47 | 258902552 | 271973.98 | -248180.5 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258902560 | 258902557 | 271816.09 | -248282.22 | 258902562 | 271717.54 | -248211.75 | B | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258911852 | 258902562 | 271717.54 | -248211.75 | 258911854 | 271662.86 | -248237.64 | B | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258911857 | 258911854 | 271662.86 | -248237.64 | 258911859 | 271630.88 | -248297.21 | B | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258911862 | 258911854 | 271662.86 | -248237.64 | 258911864 | 271613.34 | -248180.92 | B | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258911867 | 258911864 | 271613.34 | -248180.92 | 258911869 | 271560.45 | -248132.97 | B | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
258911872 | 258911869 | 271560.45 | -248132.97 | 258911874 | 271545.18 | -248140.8 | B | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
258911877 | 258911874 | 271545.18 | -248140.8 | 258911879 | 271500.81 | -248217.13 | B | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
259176664 | 637702761 | 272034.32 | -247878.54 | 258902200 | 272186.08 | -247751.68 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
259357172 | 259357173 | 272697.56 | -246328.45 | 258901501 | 272706.11 | -246314.47 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
259357177 | 258901491 | 272661.21 | -246388.06 | 259357179 | 272705.89 | -246413.05 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | I | L | YES | S
259419106 | KUDZU_RET_01421207 | 272011.04 | -249279.22 | 259415420 | 272005.29 | -249306.69 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
259421771 | 258901492 | 272689 | -246342.42 | 259357173 | 272697.56 | -246328.45 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
259430614 | 259430615 | 272809.82 | -246465.09 | 259430616 | 272812.5 | -246462.19 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
259430619 | 259357179 | 272705.89 | -246413.05 | 258901496 | 272784.49 | -246492.39 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
259430624 | 258901496 | 272784.49 | -246492.39 | 259430615 | 272809.82 | -246465.09 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
259430684 | 624107579 | 272603.82 | -246334.32 | 259430686 | 272602.43 | -246331.59 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
259481394 | 258901981 | 272228.21 | -247095.17 | 259481396 | 272291.67 | -246942.63 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
259481399 | 258901470 | 272503.02 | -246617.81 | 258901474 | 272523.92 | -246590.6 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
259482006 | 258902011 | 272215.88 | -247125.15 | 258901981 | 272228.21 | -247095.17 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
259482011 | 259482012 | 272050.59 | -247605.89 | 258902011 | 272215.88 | -247125.15 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
259482016 | 259482017 | 272016.78 | -247894.02 | 258902195 | 272011.23 | -247848.26 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
259482021 | 259482022 | 272042.37 | -247631.98 | 259482012 | 272050.59 | -247605.89 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
259557474 | 259481396 | 272291.67 | -246942.63 | 258901442 | 272311.41 | -246908.91 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | YES | S
259972716 | 259251590 | 272122.19 | -248513.54 | 259972718 | 272103.42 | -248378.89 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
259972721 | 258901324 | 272018.5 | -247908.45 | 259482017 | 272016.78 | -247894.02 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
259987967 | 258901470 | 272503.02 | -246617.81 | 259987969 | 272534.22 | -246629.53 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
259987972 | 258901443 | 272366.88 | -246826.74 | 259987974 | 272386.81 | -246840.68 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
259999638 | 258901460 | 272447 | -246707.21 | 258901464 | 272463.87 | -246680.79 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
260035254 | 259972718 | 272103.42 | -248378.89 | 259973532 | 272070.77 | -248334.71 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
260760837 | 260760832 | 272511.19 | -246525.66 | 260760839 | 272498.84 | -246526.07 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
260760902 | 260760903 | 272770.83 | -247325.42 | 260760904 | 272768.48 | -247203.85 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
260760907 | 260760908 | 272764.44 | -247202.92 | 260760909 | 272753.38 | -247165.85 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
260760912 | 260760913 | 272645.95 | -247202.19 | 260760914 | 272627.72 | -247203.32 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | I | L | NO | #N/A
260760917 | 260760918 | 272580.13 | -247206.78 | 260760919 | 272523.94 | -247142.13 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
260908042 | 260908043 | 272891.44 | -247309.32 | 260760903 | 272770.83 | -247325.42 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
260908047 | 260908048 | 272787.72 | -247117.71 | 260760908 | 272764.44 | -247202.92 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
260908052 | 260908053 | 272835.56 | -247135.44 | 260908054 | 272946.56 | -247068.45 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
260966845 | 260760899 | 272770.97 | -247332.47 | 260908043 | 272891.44 | -247309.32 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
260966850 | 260908054 | 272946.56 | -247068.45 | 260908048 | 272787.72 | -247117.71 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
260966855 | 260760904 | 272768.48 | -247203.85 | 260908053 | 272835.56 | -247135.44 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
260972199 | 260972200 | 272798.14 | -247349.91 | 260972201 | 272965.93 | -247052.76 | B | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
260972204 | 260972205 | 272682.42 | -247331.75 | 260972200 | 272798.14 | -247349.91 | B | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
261095662 | 260760914 | 272627.72 | -247203.32 | 260760918 | 272580.13 | -247206.78 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | I | L | NO | #N/A
261108939 | 260760909 | 272753.38 | -247165.85 | 261108941 | 272685.87 | -247199.72 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | I | L | NO | #N/A
261192789 | 261192790 | 272067.19 | -249033.53 | 261192791 | 272058.12 | -249033.68 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | I | L | NO | #N/A
261192799 | 261192796 | 272076.25 | -249033.39 | 261192790 | 272067.19 | -249033.53 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | I | L | NO | #N/A
261198266 | 261198263 | 273068.12 | -246510.96 | 261198268 | 273141.2 | -246689.31 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
261227534 | 261108941 | 272685.87 | -247199.72 | 260760913 | 272645.95 | -247202.19 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | I | L | NO | #N/A
261299990 | 261299991 | 272398.99 | -248216.62 | 261299992 | 272187.91 | -248329.94 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
261300000 | 261300001 | 272186.71 | -248330.06 | 261299997 | 272181.34 | -248289.09 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
261300005 | 261102414 | 272188.95 | -248350.61 | 261300001 | 272186.71 | -248330.06 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
261300010 | 261102409 | 272173.44 | -248078.35 | 261299991 | 272398.99 | -248216.62 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
261324513 | 261324514 | 272173.67 | -248226.63 | 261299996 | 272182.81 | -248288.73 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
261324518 | 261299992 | 272187.91 | -248329.94 | 261324520 | 272183.39 | -248293.39 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
261324523 | 261324520 | 272183.39 | -248293.39 | 261324514 | 272173.67 | -248226.63 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | I | L | NO | #N/A
263532069 | 259251590 | 272122.19 | -248513.54 | 263532071 | 272120.98 | -248512.61 | ABC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532074 | 263532071 | 272120.98 | -248512.61 | 258902480 | 272077.36 | -248479.26 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | YES | S
263532123 | 258902011 | 272215.88 | -247125.15 | 263532125 | 272214.44 | -247124.66 | ABC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532128 | 263532125 | 272214.44 | -247124.66 | 258902012 | 272100.26 | -247086.2 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
263532132 | 258901981 | 272228.21 | -247095.17 | 263532134 | 272229.66 | -247095.66 | ABC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532137 | 263532134 | 272229.66 | -247095.66 | 258901982 | 272280.85 | -247112.94 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | YES | S
263532141 | 258901455 | 272408.75 | -246763.37 | 263532143 | 272407.48 | -246762.51 | A | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532146 | 263532143 | 272407.48 | -246762.51 | 258901712 | 272381.2 | -246744.73 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
263532150 | 258901465 | 272491.89 | -246636.92 | 263532152 | 272490.41 | -246636.57 | A | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532155 | 263532152 | 272490.41 | -246636.57 | 258901672 | 272374.26 | -246609.58 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
263532159 | 258901475 | 272549.24 | -246557.64 | 263532161 | 272548.07 | -246556.66 | ABC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532164 | 263532161 | 272548.07 | -246556.66 | 260760832 | 272511.19 | -246525.66 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532168 | 258901475 | 272549.24 | -246557.64 | 263532170 | 272550.52 | -246558.46 | C | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532173 | 263532170 | 272550.52 | -246558.46 | 258901667 | 272580.56 | -246577.6 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
263532177 | 258901487 | 272608.88 | -246461.16 | 263532179 | 272607.6 | -246460.33 | A | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532182 | 263532179 | 272607.6 | -246460.33 | 258901652 | 272533.41 | -246412.57 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532186 | 624107585 | 272642.57 | -246414.09 | 263532188 | 272641.91 | -246412.72 | ABC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532191 | 263532188 | 272641.91 | -246412.72 | 624107579 | 272603.82 | -246334.32 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
263532348 | 258902002 | 272465.05 | -247199.37 | 263532350 | 272466.06 | -247198.23 | ABC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532353 | 263532350 | 272466.06 | -247198.23 | 260760894 | 272527.93 | -247117.6 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | I | L | NO | #N/A
263532357 | 258902006 | 272510.48 | -247225.93 | 263532359 | 272511.8 | -247226.68 | ABC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532362 | 263532359 | 272511.8 | -247226.68 | 260760899 | 272770.97 | -247332.47 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532411 | 258902308 | 271831.98 | -248025.7 | 263532413 | 271833.3 | -248026.47 | B | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532416 | 263532413 | 271833.3 | -248026.47 | 258902342 | 271915.98 | -248075.37 | B | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
263532420 | 258902330 | 271707.12 | -248097.77 | 263532422 | 271705.93 | -248096.82 | A | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532425 | 263532422 | 271705.93 | -248096.82 | 258902337 | 271664.39 | -248063.65 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
263532429 | 258902357 | 271798.73 | -247911.81 | 263532431 | 271797.26 | -247912.21 | AC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532434 | 263532431 | 271797.26 | -247912.21 | 258902389 | 271702.48 | -247938.01 | AC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
263532438 | 258902362 | 271804.89 | -247871.37 | 263532440 | 271803.97 | -247870.15 | A | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532443 | 263532440 | 271803.97 | -247870.15 | 258902369 | 271785.8 | -247846.13 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532447 | 258902404 | 271536.74 | -247818.25 | 263532449 | 271536.36 | -247816.78 | AC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532452 | 263532449 | 271536.36 | -247816.78 | 258902414 | 271526.07 | -247776.46 | AC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
263532456 | 258902414 | 271526.07 | -247776.46 | 263532458 | 271526.94 | -247775.2 | C | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532461 | 263532458 | 271526.94 | -247775.2 | 258902431 | 271558.94 | -247728.47 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532465 | 258902498 | 271836.32 | -248278.44 | 263532467 | 271834.83 | -248278.72 | B | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532470 | 263532467 | 271834.83 | -248278.72 | 258902557 | 271816.09 | -248282.22 | B | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
263532474 | 258902508 | 271852.74 | -248207.58 | 263532476 | 271853.16 | -248209.04 | C | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263532479 | 263532476 | 271853.16 | -248209.04 | 258902532 | 271859.01 | -248229.67 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263701664 | 258902006 | 272510.48 | -247225.93 | 263701666 | 272511.45 | -247227.1 | B | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263701669 | 263701666 | 272511.45 | -247227.1 | 260972205 | 272682.42 | -247331.75 | B | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263829945 | 259972718 | 272103.42 | -248378.89 | 263829947 | 272103.24 | -248377.38 | ABC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263829950 | 263829947 | 272103.24 | -248377.38 | 261102414 | 272188.95 | -248350.61 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
263849339 | 258901487 | 272608.88 | -246461.16 | 263849341 | 272610.13 | -246462.02 | A | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263849344 | 263849341 | 272610.13 | -246462.02 | 259354583 | 272661.4 | -246497.28 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
263851294 | 258901497 | 272799.8 | -246507.85 | 263851296 | 272799.76 | -246509.37 | ABC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263851299 | 263851296 | 272799.76 | -246509.37 | 261124239 | 272816.51 | -246815.89 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
263864503 | 258901997 | 272353.08 | -247156.91 | 263864505 | 272352.51 | -247158.32 | C | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263864508 | 263864505 | 272352.51 | -247158.32 | 261139259 | 272391.7 | -247240.26 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
263920200 | 259430616 | 272812.5 | -246462.19 | 263920202 | 272814.02 | -246462.35 | ABC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263920205 | 263920202 | 272814.02 | -246462.35 | 261198263 | 273068.12 | -246510.96 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
263920209 | 259430615 | 272809.82 | -246465.09 | 263920211 | 272811.34 | -246465.24 | ABC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
263920214 | 263920211 | 272811.34 | -246465.24 | 261198253 | 272994.04 | -246988.2 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
264145971 | 259987969 | 272534.22 | -246629.53 | 264145973 | 272535.48 | -246630.39 | ABC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
264145976 | 264145973 | 272535.48 | -246630.39 | 261430702 | 272551.57 | -246663.7 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
264145980 | 259987974 | 272386.81 | -246840.68 | 264145982 | 272387.23 | -246842.15 | ABC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
264324128 | 264324130 | 272995.57 | -246988.15 | 261198253 | 272994.04 | -246988.2 | ABC | YES | L | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
264324132 | 261198257 | 273187.64 | -246848.24 | 264324130 | 272995.57 | -246988.15 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
264339103 | 261299997 | 272181.34 | -248289.09 | 264339105 | 272182.67 | -248288.76 | ABC | YES | L | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
264339107 | 261299996 | 272182.81 | -248288.73 | 264339105 | 272182.67 | -248288.76 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
264418496 | 259415420 | 272005.29 | -249306.69 | 264418498 | 272005.24 | -249308.21 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | YES | S | ABC | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
264418501 | 264418498 | 272005.24 | -249308.21 | 259415421 | 272032.3 | -249368.94 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
264546392 | 258901474 | 272523.92 | -246590.6 | 264546394 | 272524.85 | -246589.39 | ABC | YES | S | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
264546397 | 264546394 | 272524.85 | -246589.39 | 258901475 | 272549.24 | -246557.64 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
264586423 | 264586425 | 272031.19 | -249372.05 | 259972695 | 272030.62 | -249373.46 | ABC | YES | S | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
264586427 | 259415421 | 272032.3 | -249368.94 | 264586425 | 272031.19 | -249372.05 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
452065528 | 259973532 | 272070.77 | -248334.71 | 452065526 | 272070.51 | -248332.6 | ABC | NO | #N/A | NO | #N/A | YES | L | Y | 900 | ABC | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
452065529 | 452065526 | 272070.51 | -248332.6 | 258901324 | 272018.5 | -247908.45 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454425 | 259415421 | 272032.3 | -249368.94 | 477454423 | 272070.01 | -249267.43 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454439 | 477454423 | 272070.01 | -249267.43 | 477454437 | 272088.17 | -249218.54 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454453 | 477454437 | 272088.17 | -249218.54 | 477454451 | 272103.22 | -249178 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454467 | 477454451 | 272103.22 | -249178 | 477454465 | 272113.77 | -249149.6 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454481 | 477454465 | 272113.77 | -249149.6 | 477454479 | 272124.14 | -249121.69 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454495 | 477454479 | 272124.14 | -249121.69 | 477454493 | 272134.44 | -249093.96 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454496 | 477454493 | 272134.44 | -249093.96 | 259972713 | 272149.18 | -249054.28 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454511 | 259972713 | 272149.18 | -249054.28 | 477454509 | 272199.2 | -249014.44 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454521 | 477454509 | 272199.2 | -249014.44 | 477454519 | 272161.21 | -248937.77 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454535 | 477454519 | 272161.21 | -248937.77 | 477454533 | 272151.51 | -248878.99 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454549 | 477454533 | 272151.51 | -248878.99 | 477454547 | 272143.76 | -248832.01 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454563 | 477454547 | 272143.76 | -248832.01 | 477454561 | 272136.48 | -248787.76 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454606 | 477454561 | 272136.48 | -248787.76 | 477454604 | 272130.21 | -248749.06 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454623 | 477454604 | 272130.21 | -248749.06 | 477454621 | 272126.12 | -248723.82 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454630 | 477454621 | 272126.12 | -248723.82 | 477454628 | 272119.33 | -248681.96 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454631 | 477454628 | 272119.33 | -248681.96 | 259251590 | 272122.19 | -248513.54 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454982 | 477454493 | 272134.44 | -249093.96 | 477454984 | 272134.25 | -249092.43 | ABC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
477454997 | 477454984 | 272134.25 | -249092.43 | 261192796 | 272076.25 | -249033.39 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | I | L | NO | #N/A
617082534 | 264145982 | 272387.23 | -246842.15 | 617082530 | 272436.66 | -246909.16 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
617082536 | 617082531 | 272444.24 | -246910.37 | 261430707 | 272537.2 | -246906.56 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
617082558 | 617082530 | 272436.66 | -246909.16 | 617082556 | 272446.55 | -246893.53 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
617082559 | 617082556 | 272446.55 | -246893.53 | 617082531 | 272444.24 | -246910.37 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
624107591 | 258901487 | 272608.88 | -246461.16 | 624107585 | 272642.57 | -246414.09 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
624107592 | 624107585 | 272642.57 | -246414.09 | 258901491 | 272661.21 | -246388.06 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
632976347 | 258901507 | 272765.23 | -246166.99 | 632976349 | 272766.69 | -246167.39 | A | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
632976357 | 258901507 | 272765.23 | -246166.99 | 632976349 | 272766.69 | -246167.39 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
632976358 | 632976349 | 272766.69 | -246167.39 | 632976355 | 272818.56 | -246181.69 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
637702668 | 258902286 | 271918.19 | -247927.5 | 637702670 | 271917.68 | -247926.05 | A | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
637702673 | 637702670 | 271917.68 | -247926.05 | 637702664 | 271909.47 | -247902.71 | A | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
637702708 | 258901325 | 271962.65 | -247918.56 | 637702710 | 271961.17 | -247918.86 | ABC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
637702713 | 637702710 | 271961.17 | -247918.86 | 258902286 | 271918.19 | -247927.5 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | YES | S
637702735 | 637702731 | 272005.37 | -247792.1 | 259482022 | 272042.37 | -247631.98 | ABC | NO | #N/A | NO | #N/A | YES | L | Y | 900 | ABC | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
637702743 | 258902195 | 272011.23 | -247848.26 | 637702731 | 272005.37 | -247792.1 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
637702765 | 258902195 | 272011.23 | -247848.26 | 637702767 | 272012.16 | -247849.48 | C | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
637702770 | 637702767 | 272012.16 | -247849.48 | 637702761 | 272034.32 | -247878.54 | C | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
699064057 | 261198268 | 273141.2 | -246689.31 | 699064053 | 273226.26 | -246734.85 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
699064059 | 699064054 | 273227.2 | -246740.79 | 261198257 | 273187.64 | -246848.24 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | C | L | NO | #N/A
699064081 | 699064053 | 273226.26 | -246734.85 | 699064079 | 273254.18 | -246733.72 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
699064082 | 699064079 | 273254.18 | -246733.72 | 699064054 | 273227.2 | -246740.79 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
699308731 | 699308714 | 272032.74 | -247904.54 | 261102409 | 272173.44 | -248078.35 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | YES | Y | SPOT | R | L | NO | #N/A
699308732 | 699308695 | 272032.59 | -247903 | 699308714 | 272032.74 | -247904.54 | ABC | NO | #N/A | YES | S | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
699308738 | 258901324 | 272018.5 | -247908.45 | 699308740 | 272019.91 | -247907.9 | ABC | YES | S | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A
699308744 | 699308740 | 272019.91 | -247907.9 | 699308695 | 272032.59 | -247903 | ABC | NO | #N/A | NO | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A | #N/A | NO | #N/A | #N/A | #N/A | #N/A | NO | #N/A

## Sheet2
Substation(Source) | Attached To
NodeID | Coord_X | Coord_Y
259415420 | 272005.29 | -249306.69
DER(PV) | Attached To
NodeID | Coord_X | Coord_Y
260972201 | 272965.93 | -247052.76 | 0
260760894 | 272527.988 | -247115.426 | 0
261124239 | 272811.106 | -246809.134 | 0
258901496 | 272784.49 | -246492.39 | 0
258901702 | 272223.52 | -246741.29 | 0
632976355 | 272818.56 | -246181.69

## Sheet3
|  | Intermediate |  |  |  | Node | [18 empty] | sectionid | status | location | connection | phase | kvar | kvln | control | onsetting | offsetting | shuntcapacitorid | controllingphase | devicenumber | Solar | SectionID | Location | DeviceNumber | EquipmentID | SymbolSize | NS | NP | ActiveGeneration | PowerFactor | AmbientTemperature | FaultContribution | ConstantInsolation | ForceT0 | InsolationModelID | FrequencySourceID | ConnectionStatus | Phase | Solar | SectionID | FromNodeID | ToNodeID | Phase | ZoneID | SubNetworkId | EnvironmentID | 258901323 | Y | SPOT | L | C | sectionid | location | eqtype | eqid | eqnumber | eqphase | phaseon | maxbuck | maxboost | bandwidth | ct | pt | settingoption | atsectionid | vseta | vsetb | vsetc | rseta | rsetb | rsetc | xseta | xsetb | xsetc | tapa | tapb | tapc | eqstate | conn | leadingunit | tagproperties | tagdisplay | tagleft | tagbottom | tagright | tagtop | tagtext | fromnodeid | revmode | revtreshold | revvseta | revvsetb | revvsetc | revrseta | revrsetb | revrsetc | revxseta | revxsetb | revxsetc | firsthouselow | firsthousehigh | Recloser | SectionID | Location | EqID | DeviceNumber | CoordX | CoordY | ClosedPhase | Locked | RC | NStatus | DemandType | Value1A | Value2A | Value1B | Value2B | Value1C | Value2C | Value1ABC | Value2ABC | TCCID | PhPickup | GrdPickup | Alternate | PhAltPickup | GrdAltPickup | FromNodeID | EnableReclosing | FaultIndicator | EnableFuseSaving | MinRatedCurrentForFuseSaving | Automated | SensorMode | Strategic | RestorationMode | ConnectionStatus | ByPassOnRestoration | Reversible | TCCSettingsSelection
699308738 | S | 259419106 | 0 | 272006.09 | -249282.72 | 263532359 | 272511.8 | -247226.68 | 263532069 | S | FUSE | FUS-K-50A | 38770122 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-K-50A |  | 452065528 | ON | L | Y | ABC | 900 | 7.2 | 7 | 0 | 0 | CAP-VAR-900-7.2kV | 0 | 84713390 |  | 22 | M | 22 | DEFAULT | 0 | 100 | 105 | 600 | 100 | 25 | 100 | 0 | 1 |  | DEFAULT | 0 | B |  | 22 | 260972201 | 22 | B |  |  | 0 | 258901441 | Y | SPOT | L | C | 264418496 | S | REGULATOR | REG-250-328A-7.62kV | 39024279 | ABC | ABC | 10 | 10 | 2 | 0 | 0 | R | DUMMY | 125 | 125 | 125 | [34 empty] | 259557474 | S | DEFAULT | 259557474 |  |  | ABC | 0 | 0 | 0 | [9 empty] | DEFAULT | 0 | 0 | 0 | 0 | 0 | 259481396 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
264324128 | L | 259481394 | 0 | 272263.44 | -247009.5 | 258902409 | 271485.14 | -247823.83 | 637702765 | S | FUSE | FUS-T-65A | 38770126 | 1 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-T-65A |  | 637702735 | ON | L | Y | ABC | 900 | 7.2 | 7 | 0 | 0 | CAP-VAR-900-7.2kV | 0 | 84713400 |  | 25 | M | 25 | DEFAULT | 0 | 80 | 60 | 340 | 100 | 25 | 100 | 0 | 1 |  | DEFAULT | 0 | ABC |  | 25 | 260760894 | 25 | ABC |  |  | 0 | 258901458 | Y | SPOT | L | R | [51 empty] | 259357177 | S | DEFAULT | 259357177 |  |  | ABC | 0 | 0 | 0 | [9 empty] | DEFAULT | 0 | 0 | 0 | 0 | 0 | 258901491 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
264339103 | L | 259482011 | 0 | 272066.63 | -247555.07 | 632976355 | 272818.56 | -246181.69 | 263532123 | S | FUSE | FUS-T-50A | 38770142 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-T-50A | [15 empty] | 26 | M | 26 | DEFAULT | 0 | 32 | 40 | 100 | 100 | 25 | 100 | 0 | 1 |  | DEFAULT | 0 | ABC |  | 26 | 261124239 | 26 | ABC |  |  | 0 | 258901468 | Y | SPOT | L | C | [51 empty] | 263532074 | S | DEFAULT | 263532074 |  |  | ABC | 0 | 0 | 0 | [9 empty] | DEFAULT | 0 | 0 | 0 | 0 | 0 | 263532071 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
264546392 | S | 259482011 | 1 | 272109.43 | -247417.31 | 477454604 | 272130.21 | -248749.06 | 263532132 | S | FUSE | FUS-SMU-20(E)-200A | 38770146 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-SMU-20(E)-200A | [15 empty] | 27 | M | 27 | DEFAULT | 0 | 36 | 40 | 100 | 100 | 25 | 100 | 0 | 1 |  | DEFAULT | 0 | ABC |  | 27 | 258901496 | 27 | ABC |  |  | 0 | 258901500 | Y | SPOT | L | C | [51 empty] | 263532137 | S | DEFAULT | 263532137 |  |  | ABC | 0 | 0 | 0 | [9 empty] | DEFAULT | 0 | 0 | 0 | 0 | 0 | 263532134 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
264586423 | S | 259482011 | 2 | 272143.93 | -247324.94 | 637702664 | 271909.47 | -247902.71 | 263532141 | S | FUSE | FUS-T-50A | 38770150 | 1 | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-T-50A | [15 empty] | 28 | M | 28 | DEFAULT | 0 | 45 | 40 | 120 | 100 | 25 | 100 | 0 | 1 |  | DEFAULT | 0 | A |  | 28 | 258901702 | 28 | A |  |  | 0 | 258901505 | Y | SPOT | L | R | [51 empty] | 637702713 | S | DEFAULT | 637702713 |  |  | ABC | 0 | 0 | 0 | [9 empty] | DEFAULT | 0 | 0 | 0 | 0 | 0 | 637702710 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
|  | 259482011 | 3 | 272135.06 | -247249.21 | 259972695 | 272030.62 | -249373.46 | 263532150 | S | FUSE | FUS-T-50A | 38770152 | 1 | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-T-50A | [40 empty] | 258901660 | Y | SPOT | L | C | [51 empty] | 258902518 | L | DEFAULT | 258902518 |  |  | ABC | 0 | 0 | 0 | [9 empty] | DEFAULT | 0 | 0 | 0 | 0 | 0 | 258902515 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0
|  | 259482011 | 4 | 272173.31 | -247150.44 | 258902441 | 271551.32 | -247570.69 | 263532159 | S | FUSE | FUS-K-20A | 38770154 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-K-20A | [40 empty] | 258901685 | Y | SPOT | L | R
|  | 260035254 | 0 | 272074.01 | -248361.07 | 258901442 | 272311.41 | -246908.91 | 263532168 | S | FUSE | FUS-T-50A | 38770158 | 1 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-T-50A | [40 empty] | 258901690 | Y | SPOT | L | R
|  | 260760907 | 0 | 272751.06 | -247199.82 | 258901443 | 272366.88 | -246826.74 | 263532177 | S | FUSE | FUS-T-40A | 38770160 | 1 | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-T-40A | [40 empty] | 258901700 | Y | SPOT | L | R
|  | 260760907 | 1 | 272759.77 | -247167.16 | 258902431 | 271558.94 | -247728.47 | 263532186 | S | FUSE | FUS-K-65A | 38770162 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-K-65A | [40 empty] | 258901705 | Y | SPOT | L | C
|  | 260760917 | 0 | 272511.89 | -247211.75 | 258902436 | 271553.88 | -247662.22 | 632976347 | S | FUSE | FUS-T-40A | 38770172 | 1 | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-T-40A | [40 empty] | 258901985 | Y | SPOT | L | C
|  | 260908042 | 0 | 272888.33 | -247309.56 | 258902421 | 271413.94 | -247684.52 | 263532348 | S | FUSE | FUS-SMU-20(E)-150A | 38770222 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-SMU-20(E)-150A | [40 empty] | 258901990 | Y | SPOT | L | R
|  | 260908042 | 1 | 272888.09 | -247314.44 | 452065526 | 272070.51 | -248332.6 | 263532357 | S | FUSE | FUS-SMU-20(E)-150A | 38770226 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-SMU-20(E)-150A | [40 empty] | 258902204 | Y | SPOT | L | C
|  | 260908042 | 2 | 272882.41 | -247324.97 | 258902426 | 271390.17 | -247659.68 | 637702708 | S | FUSE | FUS-T-80A | 38770238 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-T-80A | [40 empty] | 258902209 | Y | SPOT | L | C
|  | 260908042 | 3 | 272874.01 | -247329.31 | 259481396 | 272291.67 | -246942.63 | 637702668 | S | FUSE | FUS-T-40A | 38770242 | 1 | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-T-40A | [40 empty] | 258902214 | Y | SPOT | L | R
|  | 260908042 | 4 | 272800.98 | -247333.6 | 258902011 | 272215.88 | -247125.15 | 263532411 | S | FUSE | FUS-T-40A | 38770244 | 1 | B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-T-40A | [40 empty] | 258902229 | Y | SPOT | L | R
|  | 260908047 | 0 | 272785.53 | -247117.1 | 258902012 | 272100.26 | -247086.2 | 263532420 | S | FUSE | FUS-T-40A | 38770246 | 1 | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-T-40A | [40 empty] | 258902239 | Y | SPOT | L | R
|  | 260908047 | 1 | 272775.46 | -247172.68 | 258902414 | 271526.07 | -247776.46 | 263532429 | S | FUSE | FUS-T-50A | 38770248 | 1 | AC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-T-50A | [40 empty] | 258902254 | Y | SPOT | L | R
|  | 260908052 | 0 | 272838.18 | -247135.3 | 477454621 | 272126.12 | -248723.82 | 263532438 | S | FUSE | FUS-T-40A | 38770251 | 1 | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-T-40A | [40 empty] | 258902274 | Y | SPOT | L | R
|  | 260908052 | 1 | 272838.33 | -247128.96 | 258901981 | 272228.21 | -247095.17 | 263532447 | S | FUSE | FUS-K-20A | 38770253 | 1 | AC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-K-20A | [40 empty] | 258902279 | Y | SPOT | L | R
|  | 260908052 | 2 | 272868.55 | -247129.07 | 258901982 | 272280.85 | -247112.94 | 263532456 | S | FUSE | FUS-K-20A | 38770256 | 1 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-K-20A | [40 empty] | 258902289 | Y | SPOT | L | C
|  | 260908052 | 3 | 272947.9 | -247070.14 | 259251590 | 272122.19 | -248513.54 | 263532465 | S | FUSE | FUS-T-40A | 38770258 | 1 | B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-T-40A | [40 empty] | 258902313 | Y | SPOT | L | C
|  | 260966845 | 0 | 272800.02 | -247340.94 | 477454628 | 272119.33 | -248681.96 | 263532474 | S | FUSE | FUS-T-40A | 38770260 | 1 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-T-40A | [40 empty] | 258902350 | Y | SPOT | L | C
|  | 260966845 | 1 | 272875.45 | -247336.6 | 258901987 | 272320.04 | -247125.93 | 263701664 | S | FUSE | FUS-K-20A | 38818333 | 1 | B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-K-20A | [40 empty] | 258902372 | Y | SPOT | L | R
|  | 260966845 | 2 | 272888.64 | -247329.12 | 258902562 | 271717.54 | -248211.75 | 263829945 | S | FUSE | FUS-SMU-20(E)-150A | 38856905 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-SMU-20(E)-150A | [40 empty] | 258902377 | Y | SPOT | L | R
|  | 260966845 | 3 | 272895.05 | -247315.2 | 258902552 | 271973.98 | -248180.5 | 263849339 | S | FUSE | FUS-T-30A | 38862575 | 1 | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-T-30A | [40 empty] | 258902392 | Y | SPOT | L | R
|  | 260966845 | 4 | 272894.56 | -247309.07 | 258902557 | 271816.09 | -248282.22 | 263851294 | S | FUSE | FUS-SMU-20(E)-40A | 38863125 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-SMU-20(E)-40A | [40 empty] | 258902419 | Y | SPOT | L | R
|  | 260966850 | 0 | 272945.22 | -247066.75 | 258911874 | 271545.18 | -248140.8 | 263864503 | S | FUSE | FUS-K-20A | 38866973 | 1 | C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-K-20A | [40 empty] | 258902434 | Y | SPOT | L | R
|  | 260966850 | 1 | 272866.81 | -247124.06 | 258911879 | 271500.81 | -248217.13 | 263920200 | S | FUSE | FUS-SMU-20(E)-65A | 38882737 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-SMU-20(E)-65A | [40 empty] | 258902449 | Y | SPOT | L | R
|  | 260966850 | 2 | 272788.37 | -247125.72 | 261198253 | 272994.04 | -246988.2 | 263920209 | S | FUSE | FUS-SMU-20(E)-65A | 38882741 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-SMU-20(E)-65A | [40 empty] | 258902454 | Y | SPOT | L | R
|  | 260966850 | 3 | 272789.91 | -247118.32 | 258911864 | 271613.34 | -248180.92 | 477454982 | S | FUSE | FUS-SMU-20(E)-125A | 38889131 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-SMU-20(E)-125A | [40 empty] | 258902459 | Y | SPOT | L | R
|  | 260966855 | 0 | 272780.05 | -247175.46 | 261198257 | 273187.64 | -246848.24 | 699308732 | S | FUSE | FUS-SMU-20(E)-150A | 38908012 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-SMU-20(E)-150A | [40 empty] | 258902464 | Y | SPOT | L | R
|  | 260966855 | 1 | 272787.66 | -247130 | 258911869 | 271560.45 | -248132.97 | 264145971 | S | FUSE | FUS-K-20A | 38941559 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-K-20A | [40 empty] | 258902469 | Y | SPOT | L | R
|  | 260966855 | 2 | 272832.99 | -247129.49 | 258902195 | 272011.23 | -247848.26 | 264145980 | S | FUSE | FUS-K-65A | 38941563 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | FUS-K-65A | [40 empty] | 258902474 | Y | SPOT | L | R
|  | 260966855 | 3 | 272832.93 | -247135.58 | 258901992 | 272313.16 | -247141.96 | [55 empty] | 258902479 | Y | SPOT | L | I
|  | 260972199 | 0 | 272985.21 | -247337.33 | 264418498 | 272005.24 | -249308.21 | [55 empty] | 258902491 | Y | SPOT | L | C
|  | 261108939 | 0 | 272743.35 | -247196.39 | 258902503 | 271809.86 | -248307.25 | [55 empty] | 258902501 | Y | SPOT | L | R
|  | 261108939 | 1 | 272734.28 | -247196.74 | 261124239 | 272816.51 | -246815.89 | [55 empty] | 258902506 | Y | SPOT | L | R
|  | 261198266 | 0 | 273069.61 | -246510.72 | 261198263 | 273068.12 | -246510.96 | [55 empty] | 258902513 | Y | SPOT | L | R
|  | 261198266 | 1 | 273064.63 | -246479.18 | 258901997 | 272353.08 | -247156.91 | [55 empty] | 258902518 | Y | SPOT | L | R
|  | 261198266 | 2 | 273128.39 | -246468.85 | 258911854 | 271662.86 | -248237.64 | [55 empty] | 258902545 | Y | SPOT | L | R
|  | 261198266 | 3 | 273164.41 | -246463.85 | 258902508 | 271852.74 | -248207.58 | [55 empty] | 258902550 | Y | SPOT | L | R
|  | 261198266 | 4 | 273170.9 | -246466.83 | 261198268 | 273141.2 | -246689.31 | [55 empty] | 258911852 | Y | SPOT | L | R
|  | 261198266 | 5 | 273187.47 | -246489.2 | 258911859 | 271630.88 | -248297.21 | [55 empty] | 258911857 | Y | SPOT | L | R
|  | 261198266 | 6 | 273216.87 | -246675.46 | 258901501 | 272706.11 | -246314.47 | [55 empty] | 258911862 | Y | SPOT | L | R
|  | 261198266 | 7 | 273140.96 | -246687.79 | 258901502 | 272734.88 | -246257.64 | [55 empty] | 258911872 | Y | SPOT | L | R
|  | 261299990 | 0 | 272399.34 | -248221.35 | 258901507 | 272765.23 | -246166.99 | [55 empty] | 258911877 | Y | SPOT | L | R
|  | 261299990 | 1 | 272399.26 | -248227.7 | 259354583 | 272661.4 | -246497.28 | [55 empty] | 259176664 | Y | SPOT | L | C
|  | 261299990 | 2 | 272399.19 | -248233.82 | 264586425 | 272031.19 | -249372.05 | [55 empty] | 259357177 | Y | SPOT | L | I
|  | 261299990 | 3 | 272391.28 | -248259.16 | 263532134 | 272229.66 | -247095.66 | [55 empty] | 259421771 | Y | SPOT | L | R
|  | 261299990 | 4 | 272387.22 | -248266.55 | 637702761 | 272034.32 | -247878.54 | [55 empty] | 259430684 | Y | SPOT | L | C
|  | 261299990 | 5 | 272381.89 | -248274.17 | 261139259 | 272391.7 | -247240.26 | [55 empty] | 259999638 | Y | SPOT | L | R
|  | 261299990 | 6 | 272374.92 | -248282.12 | 263532143 | 272407.48 | -246762.51 | [55 empty] | 260760837 | Y | SPOT | L | C
|  | 261299990 | 7 | 272368.71 | -248287.54 | 637702767 | 272012.16 | -247849.48 | [55 empty] | 260760907 | Y | SPOT | L | R
|  | 261299990 | 8 | 272358.84 | -248295.29 | 258902542 | 271930.88 | -248216.47 | [55 empty] | 260760912 | Y | SPOT | L | I
|  | 261299990 | 9 | 272333.4 | -248311.54 | 260760903 | 272770.83 | -247325.42 | [55 empty] | 260966845 | Y | SPOT | L | C
|  | 261299990 | 10 | 272310.46 | -248325.41 | 260760904 | 272768.48 | -247203.85 | [55 empty] | 260966850 | Y | SPOT | L | C
|  | 261299990 | 11 | 272299.33 | -248329.87 | 258902547 | 271986.12 | -248307.12 | [55 empty] | 260966855 | Y | SPOT | L | C
|  | 261299990 | 12 | 272288.47 | -248332.43 | 260760908 | 272764.44 | -247202.92 | [55 empty] | 260972199 | Y | SPOT | L | R
|  | 261299990 | 13 | 272262.76 | -248335.94 | 260760909 | 272753.38 | -247165.85 | [55 empty] | 260972204 | Y | SPOT | L | C
|  | 261299990 | 14 | 272260.87 | -248320.68 | 258902532 | 271859.01 | -248229.67 | [55 empty] | 261095662 | Y | SPOT | L | I
|  | 261300005 | 0 | 272188.15 | -248344.13 | 258902537 | 271892.21 | -248233.76 | [55 empty] | 261108939 | Y | SPOT | L | I
|  | 261300010 | 0 | 272174.94 | -248078.17 | 263532125 | 272214.44 | -247124.66 | [55 empty] | 261192789 | Y | SPOT | L | I
|  | 261300010 | 1 | 272164.78 | -247995.97 | 258902520 | 271731.33 | -248122.63 | [55 empty] | 261192799 | Y | SPOT | L | I
|  | 261300010 | 2 | 272190.75 | -247992.95 | 258902525 | 271708.39 | -248102.33 | [55 empty] | 261198266 | Y | SPOT | L | C
|  | 261300010 | 3 | 272197.94 | -247992.45 | 263864505 | 272352.51 | -247158.32 | [55 empty] | 261227534 | Y | SPOT | L | I
|  | 261300010 | 4 | 272202.57 | -247992.65 | 699308695 | 272032.59 | -247903 | [55 empty] | 261300000 | Y | SPOT | L | C
|  | 261300010 | 5 | 272205.88 | -247993.11 | 263701666 | 272511.45 | -247227.1 | [55 empty] | 261300010 | Y | SPOT | L | C
|  | 261300010 | 6 | 272209.14 | -247978 | 258902515 | 271782.07 | -248154 | [55 empty] | 261324523 | Y | SPOT | L | I
|  | 261300010 | 7 | 272215.49 | -247979.42 | 263920211 | 272811.34 | -246465.24 | [55 empty] | 263532074 | Y | SPOT | L | C
|  | 261300010 | 8 | 272225.2 | -247982.92 | 263851296 | 272799.76 | -246509.37 | [55 empty] | 263532128 | Y | SPOT | L | R
|  | 261300010 | 9 | 272233.78 | -247986.85 | 261299991 | 272398.99 | -248216.62 | [55 empty] | 263532137 | Y | SPOT | L | C
|  | 261300010 | 10 | 272244.47 | -247994.16 | 261299992 | 272187.91 | -248329.94 | [55 empty] | 263532146 | Y | SPOT | L | R
|  | 261300010 | 11 | 272250.9 | -247999.29 | 261299996 | 272182.81 | -248288.73 | [55 empty] | 263532155 | Y | SPOT | L | R
|  | 261300010 | 12 | 272270.19 | -248022.65 | 261299997 | 272181.34 | -248289.09 | [55 empty] | 263532173 | Y | SPOT | L | R
|  | 261300010 | 13 | 272298.15 | -248059.69 | 258902281 | 272483.19 | -247880.25 | [55 empty] | 263532191 | Y | SPOT | L | C
|  | 261300010 | 14 | 272332.09 | -248104.67 | 258901682 | 272241.03 | -246525.36 | [55 empty] | 263532353 | Y | SPOT | L | I
|  | 261300010 | 15 | 272372.2 | -248157.85 | 258902286 | 271918.19 | -247927.5 | [55 empty] | 263532416 | Y | SPOT | L | R
|  | 261300010 | 16 | 272388.93 | -248182.53 | 258901687 | 272302.9 | -246576.57 | [55 empty] | 263532425 | Y | SPOT | L | R
|  | 261300010 | 17 | 272390.92 | -248185.47 | 258902271 | 272744.46 | -247825.91 | [55 empty] | 263532434 | Y | SPOT | L | R
|  | 261300010 | 18 | 272392.68 | -248189.69 | 264145982 | 272387.23 | -246842.15 | [55 empty] | 263532452 | Y | SPOT | L | C
|  | 261300010 | 19 | 272394.89 | -248195.53 | 258901672 | 272374.26 | -246609.58 | [55 empty] | 263532470 | Y | SPOT | L | C
|  | 261300010 | 20 | 272396.4 | -248201 | 258902276 | 272794.08 | -247817.15 | [55 empty] | 263829950 | Y | SPOT | L | C
|  | 261300010 | 21 | 272397.73 | -248205.82 | 258901677 | 272307.53 | -246548.54 | [55 empty] | 263849344 | Y | SPOT | L | R
|  | 261300010 | 22 | 272398.46 | -248212.12 | 263920202 | 272814.02 | -246462.35 | [55 empty] | 263851299 | Y | SPOT | L | C
|  | 261324513 | 0 | 272173.78 | -248227.56 | 258902261 | 272664.7 | -247857.93 | [55 empty] | 263864508 | Y | SPOT | L | R
|  | 261324513 | 1 | 272176.78 | -248227.18 | 477454479 | 272124.14 | -249121.69 | [55 empty] | 263920205 | Y | SPOT | L | C
|  | 261324513 | 2 | 272184.38 | -248288.57 | 264145973 | 272535.48 | -246630.39 | [55 empty] | 263920214 | Y | SPOT | L | C
|  | 261324518 | 0 | 272183.68 | -248295.75 | 258901662 | 272363.46 | -246360.1 | [55 empty] | 264145976 | Y | SPOT | L | C
|  | 261324523 | 0 | 272186.44 | -248293.01 | 258902266 | 272716.76 | -247833.57 | [55 empty] | 477454997 | Y | SPOT | L | I
|  | 261324523 | 1 | 272178.06 | -248225.14 | 259357173 | 272697.56 | -246328.45 | [55 empty] | 617082536 | Y | SPOT | L | C
|  | 261324523 | 2 | 272173.56 | -248225.71 | 260760913 | 272645.95 | -247202.19 | [55 empty] | 617082558 | Y | SPOT | L | C
|  | 263532353 | 0 | 272475.36 | -247187.72 | 258901667 | 272580.56 | -246577.6 | [55 empty] | 632976358 | Y | SPOT | L | R
|  | 263532353 | 1 | 272486.78 | -247172.76 | 260760914 | 272627.72 | -247203.32 | [55 empty] | 699064059 | Y | SPOT | L | C
|  | 263532353 | 2 | 272496.97 | -247158.51 | 259357179 | 272705.89 | -246413.05 | [55 empty] | 699064081 | Y | SPOT | L | R
|  | 263532353 | 3 | 272514.34 | -247135.03 | 260760918 | 272580.13 | -247206.78 | [55 empty] | 699308731 | Y | SPOT | L | R
|  | 263532353 | 4 | 272528.88 | -247124.61 | 260760919 | 272523.94 | -247142.13
|  | 263532362 | 0 | 272644.32 | -247302.39 | 258902251 | 272627.36 | -247896.47
|  | 263532362 | 1 | 272678.16 | -247323 | 258901652 | 272533.41 | -246412.57
|  | 263701669 | 0 | 272521.68 | -247239.53 | 258902256 | 272637.53 | -247982.49
|  | 263829950 | 0 | 272101.27 | -248361.14 | 258901657 | 272441.01 | -246428.98
|  | 263829950 | 1 | 272112.59 | -248358.07 | 477454451 | 272103.22 | -249178
|  | 263829950 | 2 | 272136.14 | -248355.1 | 264339105 | 272182.67 | -248288.76
|  | 263851299 | 0 | 272795.45 | -246673.47 | 637702731 | 272005.37 | -247792.1
|  | 263864508 | 0 | 272338.34 | -247193.18 | 259972713 | 272149.18 | -249054.28
|  | 263920205 | 0 | 272832.13 | -246464.26 | 259415420 | 272005.29 | -249306.69
|  | 263920205 | 1 | 272859.05 | -246475.09 | 259972718 | 272103.42 | -248378.89
|  | 263920205 | 2 | 272878.23 | -246479.32 | 259415421 | 272032.3 | -249368.94
|  | 263920205 | 3 | 272895.99 | -246488.22 | 259430686 | 272602.43 | -246331.59
|  | 263920205 | 4 | 272900.16 | -246490.96 | 477454465 | 272113.77 | -249149.6
|  | 263920205 | 5 | 272980.26 | -246492.86 | 259482012 | 272050.59 | -247605.89
|  | 263920205 | 6 | 273061.65 | -246479.67 | 259430615 | 272809.82 | -246465.09
|  | 263920205 | 7 | 273066.63 | -246511.21 | 259430616 | 272812.5 | -246462.19
|  | 263920214 | 0 | 272830.04 | -246467.1 | 259482017 | 272016.78 | -247894.02
|  | 263920214 | 1 | 272838.48 | -246470.12 | 637702710 | 271961.17 | -247918.86
|  | 263920214 | 2 | 272859 | -246478.22 | 263532170 | 272550.52 | -246558.46
|  | 263920214 | 3 | 272877.23 | -246482.24 | 261324514 | 272173.67 | -248226.63
|  | 263920214 | 4 | 272888.56 | -246487.94 | 259482022 | 272042.37 | -247631.98
|  | 263920214 | 5 | 272895.47 | -246491.23 | 263532179 | 272607.6 | -246460.33
|  | 263920214 | 6 | 272899.07 | -246494 | 261324520 | 272183.39 | -248293.39
|  | 263920214 | 7 | 272966.82 | -246496 | 258902291 | 271878.75 | -247934.87
|  | 263920214 | 8 | 273036.67 | -246935.32 | 258901692 | 272267.79 | -246659.01
|  | 263920214 | 9 | 273030.76 | -246964.35 | 264324130 | 272995.57 | -246988.15
|  | 263920214 | 10 | 273024.74 | -246970.31 | 258902296 | 271827.82 | -247944.95
|  | 263920214 | 11 | 273019.61 | -246975.29 | 263532188 | 272641.91 | -246412.72
|  | 263920214 | 12 | 273016.37 | -246978.4 | 258901697 | 272248.84 | -246702.87
|  | 263920214 | 13 | 273012.6 | -246980.97 | 477454493 | 272134.44 | -249093.96
|  | 263920214 | 14 | 273006.59 | -246983.44 | 258902200 | 272186.08 | -247751.68
|  | 263920214 | 15 | 273002.25 | -246984.81 | 258902201 | 272205.28 | -247731.89
|  | 263920214 | 16 | 272993.92 | -246985.13 | 263532152 | 272490.41 | -246636.57
|  | 264145976 | 0 | 272561.61 | -246648.35 | 258902206 | 272253.34 | -247790.65
|  | 264324132 | 0 | 273187.87 | -246849.76 | 261108941 | 272685.87 | -247199.72
|  | 264324132 | 1 | 273243 | -246840.81 | 263532161 | 272548.07 | -246556.66
|  | 264324132 | 2 | 273255.18 | -246917.95 | 263532431 | 271797.26 | -247912.21
|  | 264324132 | 3 | 273035.8 | -246955.64 | 624107585 | 272642.57 | -246414.09
|  | 264324132 | 4 | 273033.51 | -246965.92 | 263532440 | 271803.97 | -247870.15
|  | 264324132 | 5 | 273025 | -246974.35 | 624107579 | 272603.82 | -246334.32
|  | 264324132 | 6 | 273016.17 | -246982.83 | 263532449 | 271536.36 | -247816.78
|  | 264324132 | 7 | 273004.04 | -246987.81 | 261102414 | 272188.95 | -248350.61
|  | 264324132 | 8 | 272996.79 | -246988.1 | 258902241 | 272600.81 | -247925.81
|  | 264418501 | 0 | 272004.43 | -249332.97 | 263532413 | 271833.3 | -248026.47
|  | 452065529 | 0 | 272059.28 | -248241.43 | 258902246 | 272566.37 | -247912.5
|  | 452065529 | 1 | 272046.44 | -248137.14 | 258902231 | 272471.87 | -248047.16
|  | 452065529 | 2 | 272037.28 | -248062.81 | 263532422 | 271705.93 | -248096.82
|  | 452065529 | 3 | 272026.82 | -247978.09 | 258902236 | 272542.73 | -248013.22
|  | 477454425 | 0 | 272036.28 | -249358.22 | 477454437 | 272088.17 | -249218.54
|  | 477454425 | 1 | 272068.87 | -249270.5 | 258902221 | 272388.38 | -247981.71
|  | 477454467 | 0 | 272104.09 | -249175.66 | KUDZU_RET_01421207 | 272011.04 | -249279.22
|  | 477454563 | 0 | 272137.55 | -248794.36 | 258902226 | 272436.46 | -247991.16
|  | 477454631 | 0 | 272117.6 | -248671.27 | 258902211 | 272278.25 | -247678.41
|  | 477454631 | 1 | 272141.01 | -248648.73 | 258902216 | 272314.79 | -247874.09
|  | 477454631 | 2 | 272130.19 | -248570.91 | 263829947 | 272103.24 | -248377.38
|  | 477454997 | 0 | 272132.39 | -249077.26 | 258902384 | 271647.14 | -247739.56
|  | 477454997 | 1 | 272140.92 | -249052.13 | 260760832 | 272511.19 | -246525.66
|  | 477454997 | 2 | 272076.37 | -249054.91 | 258902389 | 271702.48 | -247938.01
|  | 617082534 | 0 | 272405.15 | -246904.13 | 260760839 | 272498.84 | -246526.07
|  | 617082536 | 0 | 272533.55 | -246924.63 | 477454423 | 272070.01 | -249267.43
|  | 637702735 | 0 | 272008.51 | -247752.32 | 258902374 | 271755.35 | -247819.46
|  | 637702735 | 1 | 272017.19 | -247711.82 | 258902379 | 271656.19 | -247747.87
|  | 637702735 | 2 | 272038.51 | -247644.22 | 258902362 | 271804.89 | -247871.37
|  | 699064057 | 0 | 273141.44 | -246690.83 | 477454984 | 272134.25 | -249092.43
|  | 699064057 | 1 | 273217.37 | -246678.5 | 258902369 | 271785.8 | -247846.13
|  | 699064059 | 0 | 273242.51 | -246837.77 | 261102409 | 272173.44 | -248078.35
|  | 699064059 | 1 | 273187.4 | -246846.73 | 258902352 | 271943.09 | -248151.22
|  | 699308731 | 0 | 272041.95 | -247989.45 | 258902357 | 271798.73 | -247911.81
|  | 699308731 | 1 | 272046.47 | -247991.57 | 477454561 | 272136.48 | -248787.76
|  | 699308731 | 2 | 272050.6 | -247992.55 | 263532071 | 272120.98 | -248512.61
|  | 699308731 | 3 | 272058.17 | -247992.86 | 699308714 | 272032.74 | -247904.54
|  | 699308731 | 4 | 272072.35 | -247991.55 | 263532476 | 271853.16 | -248209.04
|  | 699308731 | 5 | 272161.27 | -247980.27 | 617082556 | 272446.55 | -246893.53
[6 empty] | 258902394 | 271618.49 | -247892.67
[6 empty] | 263849341 | 272610.13 | -246462.02
[6 empty] | 261192790 | 272067.19 | -249033.53
[6 empty] | 258902399 | 271560.4 | -247841.97
[6 empty] | 261192791 | 272058.12 | -249033.68
[6 empty] | 261192796 | 272076.25 | -249033.39
[6 empty] | 261300001 | 272186.71 | -248330.06
[6 empty] | 258901702 | 272223.52 | -246741.29
[6 empty] | 263532458 | 271526.94 | -247775.2
[6 empty] | 258902308 | 271831.98 | -248025.7
[6 empty] | 258901707 | 272236.41 | -246553.38
[6 empty] | 699308740 | 272019.91 | -247907.9
[6 empty] | 263532467 | 271834.83 | -248278.72
[6 empty] | 260760894 | 272527.93 | -247117.6
[6 empty] | 477454509 | 272199.2 | -249014.44
[6 empty] | 260760899 | 272770.97 | -247332.47
[6 empty] | 258902342 | 271915.98 | -248075.37
[6 empty] | 260972200 | 272798.14 | -247349.91
[6 empty] | 260972201 | 272965.93 | -247052.76
[6 empty] | 258902347 | 271931.29 | -248098.25
[6 empty] | 260972205 | 272682.42 | -247331.75
[6 empty] | 258902330 | 271707.12 | -248097.77
[6 empty] | 477454533 | 272151.51 | -248878.99
[6 empty] | 258902337 | 271664.39 | -248063.65
[6 empty] | 258902320 | 271766.32 | -248028.49
[6 empty] | 632976349 | 272766.69 | -246167.39
[6 empty] | 258902325 | 271725.35 | -248063.68
[6 empty] | 477454547 | 272143.76 | -248832.01
[6 empty] | 260908043 | 272891.44 | -247309.32
[6 empty] | 260908048 | 272787.72 | -247117.71
[6 empty] | 258901324 | 272018.5 | -247908.45
[6 empty] | 258901325 | 271962.65 | -247918.56
[6 empty] | 258901712 | 272381.2 | -246744.73
[6 empty] | 258902315 | 271803.72 | -248049.99
[6 empty] | 477454519 | 272161.21 | -248937.77
[6 empty] | 258902480 | 272077.36 | -248479.26
[6 empty] | 258902481 | 272008.4 | -248421.8
[6 empty] | 617082530 | 272436.66 | -246909.16
[6 empty] | 617082531 | 272444.24 | -246910.37 |  | 699308738 | S | SWITCH | SWI-Blade-NB-300A | 367343506 | 1 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | SWI-Blade-NB-300A
[6 empty] | 258902486 | 271979.13 | -248397.5 |  | 264324128 | L | SWITCH | DEFAULT | 38987189 | 0 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | DEFAULT
[6 empty] | 259987969 | 272534.22 | -246629.53 |  | 264339103 | L | SWITCH | DEFAULT | 38991077 | 0 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | DEFAULT
[6 empty] | 258901480 | 272597.62 | -246477.18 |  | 264546392 | S | SWITCH | SWI-AirBreak-GB-600A | 39074030 | 1 | ABC | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | SWI-AirBreak-GB-600A
[6 empty] | 258902471 | 271520.97 | -247466.86 |  | 264586423 | S | SWITCH | SWI-LineDisconnect-NB-600A | 39087079 | 0 | ABC | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | SWI-LineDisconnect-NB-600A
[6 empty] | 258901487 | 272608.88 | -246461.16
[6 empty] | 259987974 | 272386.81 | -246840.68
[6 empty] | 258902476 | 271512.58 | -247455.51
[6 empty] | 258901470 | 272503.02 | -246617.81
[6 empty] | 258901474 | 272523.92 | -246590.6
[6 empty] | 699064053 | 273226.26 | -246734.85
[6 empty] | 258901475 | 272549.24 | -246557.64
[6 empty] | 258902461 | 271810.57 | -247700.89
[6 empty] | 699064054 | 273227.2 | -246740.79
[6 empty] | 264546394 | 272524.85 | -246589.39
[6 empty] | 258902466 | 271709.33 | -247620.2
[6 empty] | 258901460 | 272447 | -246707.21
[6 empty] | 258901464 | 272463.87 | -246680.79
[6 empty] | 258901465 | 272491.89 | -246636.92
[6 empty] | 258902451 | 271902.15 | -247798.96
[6 empty] | 258902456 | 271882.96 | -247761.05
[6 empty] | 258901450 | 272405.78 | -246766.65
[6 empty] | 258901455 | 272408.75 | -246763.37
[6 empty] | 699064079 | 273254.18 | -246733.72
[6 empty] | 261430702 | 272551.57 | -246663.7
[6 empty] | 261430707 | 272537.2 | -246906.56
[6 empty] | 260908053 | 272835.56 | -247135.44
[6 empty] | 260908054 | 272946.56 | -247068.45
[6 empty] | 258902493 | 271964.81 | -248411.41
[6 empty] | 258902498 | 271836.32 | -248278.44
[6 empty] | 258901491 | 272661.21 | -246388.06
[6 empty] | 258901492 | 272689 | -246342.42
[6 empty] | 637702670 | 271917.68 | -247926.05
[6 empty] | 258902002 | 272465.05 | -247199.37
[6 empty] | 263532350 | 272466.06 | -247198.23
[6 empty] | 259973532 | 272070.77 | -248334.71
[6 empty] | 258901496 | 272784.49 | -246492.39
[6 empty] | 258901497 | 272799.8 | -246507.85
[6 empty] | 258902006 | 272510.48 | -247225.93
[6 empty] | 258902404 | 271536.74 | -247818.25
[6 empty] | 22 | 272965.2424 | -247038.7335
[6 empty] | 25 | 272527.9093 | -247071.7334
[6 empty] | 26 | 272808.8161 | -246880.0245
[6 empty] | KUDZU_RET_01421207 | 272019.3244 | -249256.4972